## UncTable
Uncertainty table
Measuring instrument:
Factor |  | Information | Value |  |  | 3a | Ds | u(v,res) | 0.0057735 | m/s | u(v,repr) | 0.034641 | m/s
| Ds | resolution |  | 1 | m |  | Dt | u(v,res) | 0.0046216 | m/s | u(v,acc) | 0.023108 | m/s
|  | reproducibility | variance | 3 | m2 | 3b |  | v | 4.0024 | m/s
|  | reproducibility | st dev | 1.7321 | m | 3c |  | u(v,) | 0.042293 | m/s | U(v) | 0.082892 | m/s
|  | average |  | 20012 | cm | 3d | smalles | resolution | Dt
|  | average |  | 200.12 | m |  | biggest | repr | DS
Dt
|  | resolution |  | 0.2 | s
|  | accuracy 1% | error | 0.5 | s
|  | measure |  | 50 | s
Mathematical model |  | v = Ds/Dt
Variable xj |  |  | Statistical |  |  |  |  | Non Statistical
Symbol | Value | Note | Uj | Pdj | ndj | kdj | sj | aj | ka | u²(xj) | ci=Dy/Dx | uj²(y) | Rank | ui(y)
Ds | 200.12 | resolution | [5 empty] | 0.5 | 3 | 0.083333 | 0.02 | 3.3333e-05 | 3 | 0.0057735
|  | reproducibility |  |  |  |  | 1.7321 |  | 3 | 3 | 0.02 | 0.0012 | 1 | 0.034641
Dt | 50 | resolution | [5 empty] | 0.1 | 3 | 0.0033333 | -0.080048 | 2.1359e-05 | 4 | 0.0046216
|  | accuracy | [5 empty] | 0.5 | 3 | 0.083333 | -0.080048 | 0.00053397 | 2 | 0.023108
v | 4.0024 | m/s |  |  |  |  | Variance of y, u²(y) |  |  |  |  | 0.0017887
[7 empty] | Standard uncertainty of y, u(y) |  |  |  |  | 0.042293
[7 empty] | Confidence level |  |  |  |  | 95%
[7 empty] | Coverage factor (Student t) |  |  |  | 2 | 1.96
[7 empty] | Expanded uncertainty U(y) |  |  |  | 0.084585 | 0.082892 | m/s
Computation of Sensitivity Coefficients | [8 empty] | Show the main factors to be considered for reducing the uncertainty
| Dxi | xi+Dxi | y+Dy | Dy | Dy/Dx | derivative |  |  | reproducibility Ds
Ds | 1e-06 | 200.12 | 4.0024 | 2e-08 | 0.02 | 0.02 | 2
Dt | 1e-06 | 50 | 4.0024 | -8.0048e-08 | -0.080048 | -0.080048 | 2 |  | Show the main factors to be considered for reducing the costs
resolution Dt
Note on D19: Expanded Uncertainty
Note on E19: Presumed confidence level
Note on F19: Presumed degrees of freedom
Note on G19: Presumed coverage factor
Note on H19: Standard deviation
Note on I19: half of variability band
Note on J19: B type denominator
Note on F20: Information on the degrees of freedom (4 measurements, 3 d.o.f.) is given together with the information on expanded uncertainty.

## data analysis
parabola
T(s) | T2 | L(m) |  | residue
1 | 1 | 0 | 0.28571 | 0.28571
2 | 4 | 2 | 1.5143 | -0.48571
3 | 9 | 3 | 2.8857 | -0.11429
4 | 16 | 4 | 4.4 | 0.4 | a2 | a1 | a0
5 | 25 | 6 | 6.0571 | 0.057143 | 0.071429 | 1.0143 | -0.8
6 | 36 | 8 | 7.8571 | -0.14286 | 0.067763 | 0.48456 | 0.74066
0.51429
5.5 |  | L(T=5.5) |  | 6.9393
[7 empty] | a) | a0 | -0.8 | u(a0) | 0.74066 | a1 | 1.0143 | u(a1) | 0.48456 | a2 | 0.071429 | u(a2) | 0.067763
[7 empty] | b) | 0.51429
[7 empty] | c) | 6.9393

## probability
n a production plant 25 pieces in one day are produced, I know that there are 4 pieces defective.
Report the results in percentage form with exactly two decimal units like 0.12%, or 99.85%. If more or less than 2 decimal digits are reported, the mark will be reduced.
If at the end of the day, I extract 3 pieces, without reinsertion
a) Calculate the probability that exactly 0 pieces are defective.
b) Calculate the probability that all the extracted pieces are defectives.
c) Calculate the probability that a least 1 piece are functioning.
Repeat the question but considering that all the pieces are reinserted
d) Calculate the probability that exactly 0 pieces are defective.
e) Calculate the probability that all the extracted pieces are defectives.
f) Calculate the probability that a least 1 piece are functioning.
HYPERGEOMETRIC
|  |  | sc | nc | sp | np | c | P
a) | 57.83% | a) | 0 | 3 | 4 | 25 | 0 | 57.83%
b) | 0.1739% |  | sc | nc | sp | np | c | P
c) | 99.83% | b) | 3 | 3 | 4 | 25 | 0 | 0.1739%
d) | 59.27% |  | sc | nc | sp | np | c | P
e) | 0.4096% | c) | 2 | 3 | 4 | 25 | 1 | 99.83%
f) | 99.59% |  | BINOMIAL
|  |  | sc | nc |  | P | c | P
|  | d) | 0 | 3 |  | 0.16 | 0 | 59.27%
|  |  | sc | nc |  | P | c | P
|  | e) | 3 | 3 |  | 0.16 | 0 | 0.4096%
|  |  | sc | nc |  | P | c | P
|  | f) | 2 | 3 |  | 0.16 | 1 | 99.59%
In the class there is a normal distribution of student’s height, the mean value is 1.70 m, the standard deviation is 0.12 cm. I have the specification limits of LSI = 1.60 m and LSS = 178 cm.
g) Determine the percentage of heights within the specification (i.e. whose height is within the specification limits LSI and LSS).
h) Estimate the values of new specification limits (symmetric with respect to the mean value) which result in a percentage of bars within the specification of 90%, expressed in m.
|  |  |  | mean | 1.7 | m
|  |  |  | st dev | 12 | cm
|  |  |  | st dev | 0.12 | cm
|  |  |  | LSI | 1.6 | m
|  |  |  | LSS | 1.78 | m
90%
|  |  | z | 95% | 1.6449
|  |  | g) | 54.52%
|  |  | h) | LSI* | 1.5026 | m
|  |  | h) | LSS* | 1.8974 | m